## Slide 1: A new era begins…

## Slide 2: Why?
Need to free ourselves from the rule of very task specific coding
Code must handle increasingly complex experiments

## Slide 4
Main features
  High-level, interpreted programming language
  Object-oriented programming
  Import packages for specific functionality
  Indentation has meaning
  No semicolons needed
  https://docs.python.org/3.5/tutorial/

## Slide 5: Object oriented programming
Abstraction
Encapsulation
Inheritance
Polymorphism
Property 1
Method 1 modified
Object
Property 1
Method 1
Object
Property 1 modified
Method 1
Object
Property 2
Method 2
Property 2
Objects are building blocks which adhere to
Notes: 1.Abstraction Abstraction is a process of exposing essential feature of an entity while hiding other irrelevant detail. Why would you want to use abstraction? abstraction reduces code complexity and at the same time it makes your aesthetically pleasant.
2.Encapsulation We have to take in consideration that Encapsulation is somehow related to Data Hiding. Encapsulation is when you hide your modules internal data and all other implementation details/mechanism from other modules. it is also a way of restricting access to certain properties or component. Remember, Encapsulation is not data hiding, but Encapsulation leads to data hiding
3.Inheritance The ability of creating a new class from an existing class.
Like ther word Inheritance literally means it is a practice of passing on property, titles, debts, rights and obligations upon the death of an individual. in OOP this is somehow true(Except the death of an individual) , where The base class(the existing class sometimes called as the Parent class) has properties and methods that will be inherited by the sub class(somtimes called a subtype or child class) and it can have additional properties or methods.
Inheritance is also a way to use code of an existing objects.
4. Polymorphism Just like in biology, Polymorphism refers to the ability to take into different forms or stages.A subclass can define its own unique behaviour and still share the same functionalities or behavior of its parent/base class.Yes, you got it right, subclass can have their own behavior and share some behaviour from its parent class BUT!! not vice versa. A parent class cannot have the behaviour of its subclass.

## Slide 6
Instance
Class
SuperClass
Method 1
Properties
More properties
Inheritance
Method 2
Method 2 modified
Method 3

## Slide 7
StationQ
Copenhagen
Delft
Sydney
Microsoft
QCoDeS
Spearheaded by
Initial: Alex Johnson
Current: Giulio Ungaretti

## Slide 8
QCoDeS is a Python measurement software package
Covers aspects common to all measurements
  Instrument communication
  Performing measurement
  Data management
  Plotting
Active community with frequent updates
QCoDeS

## Slide 9
1. Initialize
Connect to instrument
Create data array
Setup instruments
2. Measure
Loop over parameter(s)
Add data to array
Acquire signal (and analyse)
Plot results
3. Finalize
Store data
Close instrument communication
Plot results
Typical measurement flow

## Slide 10
1. Initialize
Connect to instrument
Create data array
Setup instruments
2. Measure
Loop over parameter(s)
Add data to array
Acquire signal (and analyse)
Plot results
3. Finalize
Store data
Close instrument communication
Instrument server(s)
Data server
Plotting server
Measurement server
Multiprocessing
Separate server (process) for each set of tasks
Handles different tasks in parallel.
Main server remains free!
Main server
Typical measurement flow

## Slide 11: SilQ
SilQ is our experiment python package that utilizes QCoDeS
QCoDeS contains everything common to all groups
SilQ contains everything specific to our group

## Slide 12: SilQ
Instrument drivers
Custom parameters
Notebooks
Experiment/personal scripts
Analysis
Advanced plotting
What goes where

## Slide 13: The interpreters

## Slide 14: PyCharm
Similar IDE to Matlab
High-performance, with lots of useful functionality
Has debugging mode
Contains list of workspace variables
Script-based programming
To run a script in PyCharm, it should start with:
if __name__ == "__main__": *Programming code*…

## Slide 15: Notebook
Interactive programming
Operates in webbrowser
Uses notebooks
Code is run in cells
Variables remain in workspace

## Slide 16: Jupyter notebook example: Real time measurement
Hosted on server accessible with vpn connection from everywhere
Jupyter notebook in Berdina measurement computer
http://129.94.115.27:8889/

## Slide 17: Installation
Description on the github page
https://github.com/nulinspiratie/SilQ

## Slide 18: github
Github online
Github desktop

## Slide 19: How to code well

## Slide 20: Coding rules
Use 4 spaces per indentation level (use tabs)
Imports on top of the file
Class names should normally use the CapWords convention
Function names should be lowercase, with words separated by underscores
Always use self for the first argument to instance methods
Underscores for variables:
  __foo__: convention, a way for Python to use names that won't conflict with user names.
  _foo: convention, a way for the programmer to indicate that the variable is private (E.g. from M import * does not import objects whose name starts with an underscore)
  __foo: real meaning, the interpreter replaces this name with _classname__foo as a way to ensure that the name will not overlap with a similar name in another class.
Python:
https://www.python.org/dev/peps/pep-0008/#prescriptive-naming-conventions
Should adhere to common coding style
foo = long_function_name(var_one, var_two,
var_three, var_four)
Us:
Do NOT use abbreviations and DO write descriptive comments

## Slide 21: Varying setup
Pulseblaster
Arbstudio
Berdina
Digitizer
An experimental setup often changes
Can become a
coding nightmare

## Slide 22
Pulseblaster
Arbstudio
Berdina
Digitizer
coding nightmare
coding nightmare
Varying setup
An experimental setup often changes
Can become a

## Slide 23: Varying setup
Pulseblaster
Berdina
Digitizer
Tektronix AWG
An experimental setup often changes
Can become a
coding nightmare

## Slide 24: Proposed solution: PulseMaster
The PulseMaster is a meta-instrument that knows the instruments in the setup and their connectivity
Input is high level operations, such as
  SinePulse(frequency=2.5*GHz, duration=10*ms)
Determines the available instrument for pulse
Controls the instruments and ensures triggering
Requires an interface for each instrument

## Slide 25: Typical measurement
Pulseblaster
Arbstudio
Digitizer
PulseMaster
Measurement
parameter
No direct access between high-level operations and instruments
Allows same code to be reused for different setups

## Slide 26: The journey is not over yet…
PulseMaster
Steering
Adding instrument drivers
ESR/NMR drive
GUIs
In–situ change of measurement loops
Continuous QCoDes updates
And many more…
Help needed!!!